|  | Maintenance issues | Financial issues | Uses for the asset | Eureka! Comment/Position |
| --- | --- | --- | --- | --- |
| Museum | Development of a 10 to 25 year maintenance plan in place with major items being progressed. | Anticipated major upgrades required to plant and electrical installation over the coming 5 to 10 years. Roof continues to be an on-going issue with a few thousands spent per year repairing leaks. | Needs significant investment to improve galleries to deliver a high quality contemporary visitor experience. | One of CMBC’s crown jewels that requires support through multiagency approach to secure its on-going success in bringing tourists into the town / borough |
| 1855 | Roof continues to be an on-going issue. | Roof costing a few thousands per year. | Needs to be agreed with CMBC what the long term plan for the lease / site is. | Discussions on-going with CMBC. |
| Great Northern Shed (GNS) | Roof repair and other weatherproofing required to prevent further deterioration. | Roof works estimates at £180k minimum | Strategic solution needed with developer / CMBC | Discussions on-going with CMBC. |
| Shaw Syke Goods Station (SSGS) | Regular review of building condition. | No update from restoration specialist but clearly further deterioration will be happening. | Strategic solution needed with developer / CMBC | Discussions on-going with CMBC. |
| Weighbridge building | Roof repair and other weatherproofing required to prevent further deterioration. | Works required to secure the electrical supply within the building, which is likely to be in the region of £5k for repair. | Needs to be agreed with CMBC what the long term plan for the lease / site is. | Discussions on-going with CMBC. |
| Northern Car Park | Drainage issues – both surface and underground | Likely to be in the region of £10k for repair. | Shared car park between station, Eureka! and Town Centre activity. | Discussions on-going with CMBC. |
| Central Car Park | Drainage issues – both surface and underground. | Likely to be in the region of £10k. | Dedicated Eureka! car park. | Needs to form part of discussions with CMBC. |
| Southern Car Park | Some improvements made to facilitate a temporary 2024-2026 car park for NHS. | Regular upkeep needed costing a few thousands per year. | Potentially a car park for new uses for GNS and SSGS. | Discussions on-going with CMBC. |
| Lilly Lane footbridge | On-gong deterioration of a public right-of-way | Repair estimate of £300k minimum | None | Propose to be demolished by CMBC as part of the any agreement on the future use of the site. |
| Green space in front of 1855 | Minor landscaping costs annually | New playscape will cost approximately £150k which may be difficult to fundraise for in the current climate. | Playscape | Project on hold while the focus is on the main museum building. |